## Slide 1: Implementación en FPGA de una arquitectura para la reconstrucción acelerada de imágenes de pMRI a partir de datos de k-espacio
Weekly report: 20/02/2026

## Slide 2: Phased array coils

## Slide 3
Continuos Time
Mathematical description of aquisition domains

## Slide 4
Discrete Time
Mathematical description of aquisition domains

## Slide 5
Sensitivity map: pre-scan method

## Slide 6: Raw data from coils k-space
SENSE algorithm input
If no undersampling applied: Af = 1

## Slide 7
SENSE with Af = 1: pixel by pixel model
Let’s take one pixel, e.g. (1,1)
Vector notation:
(noise is ignored for simplicity)

## Slide 8
SENSE with Af = 1: least-squares solution
We need to find the value of m that minimizes the quadratic error between the data and the model
Data
Model
This is an optimization problem, written as:

## Slide 9
SENSE with Af = 1: Moore-Penrose pesudoinverse
This is a well-known problem and can be resolved using the Moore-Penrose pseudoinverse, written as:
Decomposed as:

## Slide 10: Raw data from coils k-space
SENSE algorithm input
Undersampling applied: Af = 2
Undersampling in (acceleration factor causes pixels of the full-FOV image to fold into one aliased pixel in each coil image.

## Slide 11
Same sensitvity maps…

## Slide 12
SENSE with Af > 1: now we gotta scale with aliasing
Let’s take one folded pixel, e.g. (, ) (Will asume undersampling in the y direction)
Matrix notation:
(again, noise is ignored for simplicity)

## Slide 13
SENSE with Af > 1: now we use matrices instead of vectors
With Af = 1:
With Af > 1:

## Slide 14
SENSE with Af > 1: least-squares solution
We want to estimate the vector that best explains the measured data . This leads again to a least-squares problem
Data
Model
Again, this leads to:
Note that now:
This means we can use Cholesky, LU decomposition, gauss elimination, etc